CS19CFO Commercial Building First Fit-out and Minor Internal Alterations Checksheet.

APPLICANT INFORMATION

This checklist is designed to assist with the documentation and information that needs to be provided with your application. The comments provided in italics are references to paragraphs of the Acceptable Solutions unless specified otherwise. These are for guidance only and may not be the specific means of compliance for your project. Please complete all orange sections (left side of form) or select N/A where relevant This checklist is suitable to be used for - a first fit out of a new building (i.e. tenancy fit out) or, - minor internal alteration to an existing commercial building. For more significant alterations / additions please complete the CS19C Commercial checksheet available here

| # PROPERTY INFORMATION |  |  |  |  |
| --- | --- | --- | --- | --- |
| APPLICANT TO COMPLETE |  | COUNCIL USE ONLY |  |  |
|  |  | Yes | RFI | Reasons for Decisions / Comments |
| Clause A1 - Classified Uses | Choose an item. | ☐ | ☐ | BC NUMBER: Click to enter text. Check within scope of checksheet and check project information provided by applicant. |
| Use of Building | Choose an item. |  |  |  |
| Building Importance Level | Choose an item. |  |  |  |

|  | Form 2: Application for Building Consent | # COUNCIL USE ONLY |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Yes | N/A | RFI | Reasons for Decisions / Comments |
| ☐ | All sections of Form 2 completed | ☐ | ☐ | ☐ |  |

| Yes | N/A | Producer Statements | COUNCIL USE ONLY |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Yes | N/A | RFI | Reasons for Decisions / Comments |
| ☐ | ☐ | Producer Statements (PS1s) Check: - Building address - scope of work/ building code clauses covered - drawings referenced - verification of design assumptions - construction monitoring and inspection schedule - authors qualification and registration (check on EngNZ register) - signed and dated - supporting documentation (calculations/test report) | ☐ | ☐ | ☐ |  |

| Building Act 2004 | COUNCIL USE ONLY |  |  |  |
| --- | --- | --- | --- | --- |
|  | Yes | N/A | RFI | Reasons for Decisions / Comments |
| Section 53 Building Levy (accurate value of work for project) | ☐ | ☐ | ☐ |  |
| Section 31 – 39 Project Information Memoranda (PIM/PIC) (contamination, services etc) | ☐ | ☐ | ☐ |  |
| Section 71 – 74 Natural Hazards associated with this consent (see PIM/PIC information) | ☐ | ☐ | ☐ |  |
| Section 112 Alterations to existing buildings | ☐ | ☐ | ☐ |  |
| Section 115 Change of use | ☐ | ☐ | ☐ |  |
| Section 67 Waivers or Modifications Complete AF WM Application for Waiver or Modification | ☐ | ☐ | ☐ |  |
| Section 26 Warnings or Bans | ☐ | ☐ | ☐ |  |

| Alterations to an existing building(s) or Change of Use |  |
| --- | --- |
| ☐ N/A (Skip to next section - B Stability) ☐ Alteration to an existing building? Yes (does not apply to first fit outs as this is new work and will be assessed under Section 17) |  |
| Section 112 applies – Means of escape from fire and Access and Facilities for persons with disabilities ☐ Is a change of use proposed? Yes (see Building Regulations 2005 to establish if change of use proposed) Section 115 applies – Means of escape from fire, protection of other property, sanitary facilities, structural performance and fire-rating performance |  |
| Current use: Choose an item. | Proposed use: Choose an item. |
| If yes to either of the above, complete table below to establish the Building Score and provide applicable level of assessment for the whole building. For unit titles or alterations to tenancies within an existing building, the whole building must be assessed. MBIE Building Score Methodology used to establish the level of information that needs to be provided to review relevant Code Clause requirements |  |

| BUILDING SCORE |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Type |  | Key Factors |  |  |  |  | Points | Score (select as applicable) |
| Likelihood of existing building complying |  | Building Age |  |  |  |  |  |  |
|  |  | Approved from 1 June 2001 onwards |  |  |  |  | 0 | ☐ |
|  |  | Approved between 1 January 1993 and 31 May 2001 |  |  |  |  | 1 | ☐ |
|  |  | Approved on or before 31 December 1992 |  |  |  |  | 3 | ☐ |
|  |  | Information held on the building by the BCA or TA (score one of these only and choose the most comprehensive assessment) |  |  |  |  |  |  |
|  |  | For buildings approved from 1 June 2001: no consents made |  |  |  |  | 0 | ☐ |
|  |  | Full building assessment on file dated 1 June 2001 or later |  |  |  |  | 2 | ☐ |
|  |  | Full building assessment on file dated on or before 31 May 2001 |  |  |  |  | 4 | ☐ |
|  |  | One or more partial building assessments on file |  |  |  |  | 6 | ☐ |
|  |  | No assessment on file for building additions or alterations |  |  |  |  | 8 | ☐ |
|  |  | Unable to determine history of building |  |  |  |  | 8 | ☐ |
| Extent of proposed work |  | Extent of the proposed work |  |  |  |  |  |  |
|  |  | Minor |  |  |  |  | 0 | ☐ |
|  |  | Moderate |  |  |  |  | 3 | ☐ |
|  |  | Significant |  |  |  |  | 6 | ☐ |
| Potential consequences of not complying |  | Building Importance Level |  |  |  |  |  |  |
|  |  | Level 1 |  |  |  |  | 0 | ☐ |
|  |  | Level 2 |  |  |  |  | 4 | ☐ |
|  |  | Level 3 |  |  |  |  | 8 | ☐ |
|  |  | Level 4 and Level 5 |  |  |  |  | 12 | ☐ |
|  |  | Additional points for building level 1, 2 or 3 with sleeping facilities |  |  |  |  | 4 | ☐ |
| TOTAL SCORE |  |  |  |  |  |  |  | Choose an item. |
| # Assessments to be provided in relation to Building Score |  |  |  |  |  |  |  |  |
| 1-11 | List of current features plus Statement of Change |  |  |  |  |  |  |  |
| 12-19 | Gap Assessment |  |  |  |  |  |  |  |
| 20+ | Full Assessment |  |  |  |  |  |  |  |
| Further guidance on levels of assessment can be found on the MBIE website: Recommended approach |  |  |  |  |  |  |  |  |
| Alterations or Change of Use to existing building |  |  | Yes | N/A | RFI | COUNCIL USE ONLY |  |  |
| Building Score sheet provided and agree with assessment level |  |  | ☐ | ☐ | ☐ |  |  |  |

| B STABILITY |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ☐ N/A | B1 Structure | # ☐ N/A |  |  | # COUNCIL USE ONLY |  |
|  |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |  |
| Reference pages | Alterations or additions to internal structural elements | ☐ | ☐ | ☐ |  |  |
|  | Internal partitions walls or openings | ☐ | ☐ | ☐ |  |  |
|  | Ceiling systems, ceiling linings, suspended ceilings (seismic restraint and PS1) | ☐ | ☐ | ☐ |  |  |
| B2 Durability |  |  |  |  |  |
| B2 Durability must always be considered when demonstrating compliance with each of the clauses of the Building Code. In other words, it ensures that a building will continue to satisfy the performance of the Building Code throughout its specified intended life. Under the clause, building materials, components and construction methods are required to be sufficiently durable. They must ensure that the building, without reconstruction or major renovation, continues to satisfy the other functional requirements of the Building Code throughout its life. B2 specifies minimum durability periods building elements must meet with only normal maintenance, being not less than 50, 15 or 5 years. |  |  |  |  |  |

| # C PROTECTION FROM FIRE |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| C1-6 Protection from Fire |  | # ☐ N/A |  |  | # COUNCIL USE ONLY |
|  |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| Reference pages | Alteration to an existing building (Part 1-4) or Change of use assessment provided (Part 1-5) | ☐ | ☐ | ☐ |  |
|  | Part 1: General (risk group, occupant load) | ☐ | ☐ | ☐ |  |
|  | Part 2: Firecell, fire safety systems and fire resistance ratings | ☐ | ☐ | ☐ |  |
|  | Part 3: Means of Escape | ☐ | ☐ | ☐ |  |
|  | Part 4: Control of Internal Fire & Smoke spread | ☐ | ☐ | ☐ |  |
|  | Part 5: Control of External fire spread | ☐ | ☐ | ☐ |  |
|  | Part 7: Prevention of fire occurring | ☐ | ☐ | ☐ |  |

| # D ACCESS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ☐ N/A | D1 Access Routes | # ☐ N/A |  |  | # COUNCIL USE ONLY |
|  |  | Yes | N/A | RFI | Reasons for Decisions / Comments |
| Reference pages | Alteration to an existing building or Change of use assessment provided (where Section 118 applies) | ☐ | ☐ | ☐ |  |
|  | Accessible route(s): principal entrance, location, slope, height clearances, obstructions, structural stability, barriers and lighting, slip resistance, width and protection from falling | ☐ | ☐ | ☐ |  |
|  | Ramps: slope, slip resistance, width, landings, kerb ramps, handrails | ☐ | ☐ | ☐ |  |
|  | Stairways: Pitch, risers and treads, width, landings, curved and spiral stairways, stair winders and visibility of stair treads, handrails | ☐ | ☐ | ☐ |  |
|  | Door and Openings | ☐ | ☐ | ☐ |  |
|  | Carparking: carparking provided and route from carpark to building assessed | ☐ | ☐ | ☐ |  |

| # E MOISTURE |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| # ☐ N/A | E2 External Moisture | # ☐ N/A |  |  | # COUNCIL USE ONLY |
|  |  | Yes | N/A | RFI | Reasons for Decisions / Comments |
| Reference pages | Roof or wall penetrations in relation to internal building work | ☐ | ☐ | ☐ |  |
| ☐ N/A | E3 Internal Moisture | # ☐ N/A |  |  | # COUNCIL USE ONLY |
|  |  | Yes | N/A | RFI | Reasons for Decisions / Comments |
| Reference pages | Watersplash: Showers, urinals, baths – impervious surfaces walls and floors and junction details provided | ☐ | ☐ | ☐ |  |
|  | Commercial and Industrial kitchen facilities: interior linings for food processing and other areas, wash down areas | ☐ | ☐ | ☐ |  |

| # F SAFETY OF USERS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| # ☐ N/A | # F2 Hazardous Building Materials | # ☐ N/A |  |  | # COUNCIL USE ONLY |
|  |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| Reference pages | # Manifestation details provided, glazed partitions | ☐ | ☐ | ☐ |  |
| # ☐ N/A | # F5 Construction and Demolition Hazards | # ☐ N/A |  |  | # COUNCIL USE ONLY |
|  |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| Reference pages | # Restricting access: work site barriers, site fences or hoardings provided as applicable | ☐ | ☐ | ☐ |  |
| ☐ N/A | F6 Visibility in Escape Routes | # ☐ N/A |  |  | # COUNCIL USE ONLY |
|  |  | Yes | N/A | RFI | Reasons for Decisions / Comments |
| Reference pages | Alteration to an existing building or Change of use assessment provided | ☐ | ☐ | ☐ |  |
|  | Emergency lighting plan provided: location, illuminance, duration and PS1 provided in relation to emergency lighting design | ☐ | ☐ | ☐ |  |
| ☐ N/A | F8 Signs | # ☐ N/A |  |  | # COUNCIL USE ONLY |
|  |  | Yes | N/A | RFI | Reasons for Decisions / Comments |
| Reference pages | Alteration to an existing building or Change of use assessment provided (where Section 118 applies) | ☐ | ☐ | ☐ |  |
|  | Exit and Fire Signage: Exit signs, call points, fire and smoke doors. Visible at all times - illumination (type) | ☐ | ☐ | ☐ |  |
|  | Accessibility Signage: for accessible route and facilities (car parks, entrance, route, services), assistive listening system | ☐ | ☐ | ☐ |  |
|  | Hazard Signage: hazardous substances and processes (HSNO CoP2.1 09-04) electrical, lifts, machine rooms, escalators/moving walks, water supplies | ☐ | ☐ | ☐ |  |

| # G SERVICES AND FACILITIES |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| # ☐ N/A | # G1 Personal Hygiene | # ☐ N/A |  |  | # COUNCIL USE ONLY |
|  |  | Yes | N/A | RFI | Reasons for Decisions / Comments |
| Reference pages | Alteration to an existing building or Change of use assessment provided (where Section 118 applies) | ☐ | ☐ | ☐ |  |
|  | Number of WC pans, basins, urinals, baths and showers (single sex/unisex) Refer to fire report occupancy number of occupancy number in relation to facilities required or Table 4. | ☐ | ☐ | ☐ |  |
|  | All bathroom facilities: location layout, space, unisex, basins, showers, line of sight, cubicles, lobbies Accessible facilities: access/location, number, layout | ☐ | ☐ | ☐ |  |
|  | Location of sanitary fixtures: space, access to food prep area work, basin communal | ☐ | ☐ | ☐ |  |
| # ☐ N/A | # G4 Ventilation | # ☐ N/A |  |  | # COUNCIL USE ONLY |
|  |  | Yes | N/A | RFI | Reasons for Decisions / Comments |
| Reference pages | Natural ventilation: accommodation units and carparks (apartments, hotels, motels) | ☐ | ☐ | ☐ |  |
|  | Combined natural ventilation and mechanical ventilation (accommodation units) | ☐ | ☐ | ☐ |  |
|  | Mechanical ventilation: outdoor air supply, air-handling systems, extract ventilation etc. car park ventilation, PS1 provided for design | ☐ | ☐ | ☐ |  |
|  | Ventilation of spaces containing gas fuel appliances: natural/mechanical ventilation, flue construction | ☐ | ☐ | ☐ |  |
| # ☐ N/A | # G5 Interior Environment | # ☐ N/A |  |  | # COUNCIL USE ONLY |
|  |  | Yes | N/A | RFI | Reasons for Decisions / Comments |
| Reference pages | Alteration to an existing building or Change of use assessment provided (where Section 118 applies) | ☐ | ☐ | ☐ |  |
|  | Accessible reception counter/desk details provided | ☐ | ☐ | ☐ |  |
|  | Listening systems and hearing loops in cinemas, theatres, public halls and communal non-residential with >250 people, assembly spaces in old people’s homes with >20 people | ☐ | ☐ | ☐ |  |
| ☐ N/A | G8, G9, G10 & G11 Energy works | # ☐ N/A |  |  | # COUNCIL USE ONLY |
|  |  | Yes | N/A | RFI | Reasons for Decisions / Comments |
| Reference pages | Alteration to an existing building or Change of use assessment provided (where Section 118 applies) | ☐ | ☐ | ☐ |  |
|  | Lighting plan provided in relation to exit ways and escape routes | ☐ | ☐ | ☐ |  |
|  | Accessible light switches and plug sockets: details and locations provided for buildings intended for use by persons with disabilities and accessible accommodation | ☐ | ☐ | ☐ |  |
| # ☐ N/A | # G12 Water Supply & G13 Foul Water | # ☐ N/A |  |  | # COUNCIL USE ONLY |
|  |  | Yes | N/A | RFI | Reasons for Decisions / Comments |
| Reference pages | Alteration to an existing building or Change of use assessment provided (where Section 118 applies) | ☐ | ☐ | ☐ |  |
|  | Water supply (potable/non potable) Protection of Potable Water: hazard and backflow protection information, listed on Compliance Schedule application | ☐ | ☐ | ☐ |  |
|  | Hot water system (type, specifications, schematic, gas califont specifications, gas bottle location), safe water temperature | ☐ | ☐ | ☐ |  |
|  | Grease traps: details and size | ☐ | ☐ | ☐ |  |
|  | Plumbing and drainage plan provided: fixture diameters, gradients, venting, chase details | ☐ | ☐ | ☐ |  |

# Draft Compliance Schedule

Specified systems

☐ N/A skip to next section - construction documentation ☐ New Compliance Schedule required

☐ Existing Compliance Schedule - specified systems being altered, added, or removed in the course of the building work Existing compliance schedule number: Click here to enter text. For all new or altered specified systems, complete the associated orange sections below for performance standards and inspection/maintenance procedures Please note: Some systems list the most common standard as an option. If using a standard not listed below, please select ‘other’ and complete a specified system form for that system. For further guidance on specified systems, please refer to the MBIE Compliance Schedule Handbook

| SS1 - Auto Systems for Fire Suppression |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| --- | --- | --- | --- | --- | --- |
| Performance Standard |  | ☐ | ☐ | ☐ | Check applicants selected means of compliance aligns with fire report. Add performance, inspection, and maintenance standards to draft compliance schedule. Performance Standard: Inspection/Maintenance Procedure: |
| NZS 4541:2020 Automatic fire sprinkler systems (original version May 2020), Parts 1 - 11 | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |
| Inspection/Maintenance Procedure |  |  |  |  |  |
| NZS 4541:2020 Automatic fire sprinkler systems (original version May 2020), Part 12 | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |

| SS2 - Automatic or manual emergency warning systems |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| --- | --- | --- | --- | --- | --- |
| Performance Standard |  | ☐ | ☐ | ☐ | Check applicants selected means of compliance aligns with fire report. Add performance, inspection, and maintenance standards to draft compliance schedule. Performance Standard: Inspection/Maintenance Procedure: |
| NZS 4512:2021 Fire detection and alarm systems in buildings (original version May 2021), Parts 1-5 | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |
| Inspection/Maintenance Procedure |  |  |  |  |  |
| NZS 4512:2021 Fire detection and alarm systems in buildings (original version May 2021), Part 6 | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |

| SS3/1 – Automatic Doors |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| --- | --- | --- | --- | --- | --- |
| Performance Standard |  | ☐ | ☐ | ☐ | Check applicants selected means of compliance aligns with specifications. Add performance, inspection, and maintenance standards to draft compliance schedule. Performance Standard: Inspection/Maintenance Procedure: |
| NZS 4239:1993 Automatic sliding door assemblies (original version December 1993) | ☐ |  |  |  |  |
| AS 5007:2007 Powered doors for pedestrian access & egress (original version September 2007), Section 5 | ☐ |  |  |  |  |
| AS 4290:2000 Design and installation of revolving doors (original version January 2000) | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |
| Inspection/Maintenance Procedure |  |  |  |  |  |
| Compliance Schedule Handbook: 2014 Amendment 3, dated 14 February 2014 (Clause 3.1 B.5-B.7 & B.8-B.26, C.1-C.5) | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |

| SS3/2 - Access controlled doors |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| --- | --- | --- | --- | --- | --- |
| Performance Standard |  | ☐ | ☐ | ☐ | Check applicants selected means of compliance aligns with specifications. Add performance, inspection, and maintenance standards added to draft compliance schedule. Performance Standard: Inspection/Maintenance Procedure: |
| Association of Building Compliance - Code of Practice for Electro-mechanical controlled locking devices on egress doors:2018 (Version 2), Part 5 and 6 | ☐ |  |  |  |  |
| C/AS2 Acceptable Solution for Buildings other than Risk Group SH (First Edition, Amendment 3, dated 2 November 2023), Clause 3.15.7 | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |
| Inspection/Maintenance Procedure |  |  |  |  |  |
| Association of Building Compliance - Code of Practice for Electro-mechanical controlled locking devices on egress doors:2018 (Version 2), Part 7 | ☐ |  |  |  |  |
| Compliance Schedule Handbook:2014 (Amendment 3, dated 14 February 2014) Clause 3.2 B.2-B.4 & B.5-B.7 | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |

| SS3/3 - Interfaced fire or smoke doors or windows |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| --- | --- | --- | --- | --- | --- |
| Performance Standard |  | ☐ | ☐ | ☐ | Check applicants selected means of compliance aligns with fire report and specifications. Add performance, inspection, and maintenance standards to draft compliance schedule. Performance Standard: Inspection/Maintenance Procedure: |
| C/AS2 Acceptable Solution for Buildings other than Risk Group SH (First Edition, Amendment 3, dated 2 November 2023), paragraphs 3.15.9 and 3.15.10 | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |
| Inspection/Maintenance Procedure |  |  |  |  |  |
| Compliance Schedule Handbook:2014 (Amendment 3, dated 14 February 2014), Clause 3.3 B.3-B.5 & B.6-B.8 | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |

| SS4 - Emergency lighting systems |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| --- | --- | --- | --- | --- | --- |
| Performance Standard |  | ☐ | ☐ | ☐ | Check applicants selected means of compliance aligns with EML PS1 and fire report. Add performance, inspection, and maintenance standards to draft compliance schedule. Performance Standard: Inspection/Maintenance Procedure: |
| AS 2293.1:2005 Emergency escape lighting & exit signs for buildings, Part 1: System design, installation & operation (Amendment 2, August 2014), & AS 2293.3:2005, Part 3: Emergency escape luminaries and exit signs (Amendment 2, December 2012), as modified by Appendix B of F6/AS1 (Third edition, Amendment 4, dated Jan 2017) | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |
| Inspection/Maintenance Procedure |  |  |  |  |  |
| AS/NZS 2293.2:1995 Emergency escape lighting & exit signs for buildings Part 2: Inspection & maintenance (Amendment 3, December 2012) | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |

| SS5 - Escape route pressurisation systems |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| --- | --- | --- | --- | --- | --- |
| Performance, Inspection and Maintenance Standards and Procedures |  | ☐ | ☐ | ☐ | Specified System form reviewed for compliance. Add performance, inspection, and maintenance standards to draft compliance schedule. Performance Standard: Inspection/Maintenance Procedure: |
| Please complete a specified system form | ☐ |  |  |  |  |

| SS6 - Riser Mains |  | Yes | N/A | RFI | Reasons for Decisions/ Comment |
| --- | --- | --- | --- | --- | --- |
| Performance Standard |  | ☐ | ☐ | ☐ | Check applicants selected means of compliance aligns with fire report. Add performance, inspection, and maintenance standards to draft compliance schedule. Performance Standard: Inspection/Maintenance Procedure: |
| NZS 4510:2008 Fire hydrant systems for buildings, incorporating (Amendment 1, dated 30 January 2009), Parts 1-8 | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |
| Inspection/Maintenance Procedure |  |  |  |  |  |
| NZS 4510:2008 Fire hydrant systems for buildings, (Amendment 1, dated 30 January 2009), Part 9 | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |

| SS7 - Automatic Backflow Prevention Devices |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| --- | --- | --- | --- | --- | --- |
| Performance Standard |  | ☐ | ☐ | ☐ | Check applicants selected means of compliance aligns with product specifications. Add performance, inspection, and maintenance standards to draft compliance schedule. Performance Standard: Inspection/Maintenance Procedure: |
| G12/AS1 Water Supplies Acceptable Solution (3rd Edition Amendment 14, dated 2 November 2024), Clause 3.7.1- 3.7.4 | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |
| Inspection/Maintenance Procedure |  |  |  |  |  |
| AS/NZS 2845.3:2020 Water supply – Backflow prevention devices, Part 3: Field testing and maintenance of testable devices (Original Version, February 2020) | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |

| SS8.1 - Passenger-carrying lifts |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| --- | --- | --- | --- | --- | --- |
| Performance Standard |  | ☐ | ☐ | ☐ | Check applicants selected means of compliance aligns with product specifications. Add performance, inspection, and maintenance standards to draft compliance schedule. Performance Standard: Inspection/Maintenance Procedure: |
| EN 81-20:2014 Safety rules for the construction and installation of lifts – Lifts for the transport of persons and goods (Amendment 1, dated 30 November 2015) – as modified by D2/AS1 (Second Edition, Amendment 7, dated Jan 2017) - Part 20: Passenger and goods passenger lifts | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |
| Inspection/Maintenance Procedure |  |  |  |  |  |
| Compliance Schedule Handbook:2014 (Amendment 3, dated 14 February 2014), Clause 8.1 (for EN 81 (Parts 1 & 2) – Refer to checklist) | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |

| SS8.2 – Platform, low-speed and service lifts |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| --- | --- | --- | --- | --- | --- |
| Performance Standard |  | ☐ | ☐ | ☐ | Check applicants selected means of compliance aligns with product specifications. Add performance, inspection, and maintenance standards to draft compliance schedule. Performance Standard: Inspection/Maintenance Procedure: |
| NZS 4334:2012 Platform lifts and low-speed lifts (original version July 2012), Parts 1-11 | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |
| Inspection/Maintenance Procedure |  |  |  |  |  |
| NZS 4334:2012 Platform lifts and low-speed lifts (original version July 2012), Appendix A | ☐ |  |  |  |  |
| Compliance Schedule Handbook:2014 (Amendment 3, dated 14 February 2014), Clause 8.2 (Refer to checklist) | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |

| SS8.3 – Escalators and moving walks |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| --- | --- | --- | --- | --- | --- |
| Performance Standard |  | ☐ | ☐ | ☐ | Check applicants selected means of compliance aligns with product specifications. Add performance, inspection, and maintenance standards to draft compliance schedule. Performance Standard: Inspection/Maintenance Procedure: |
| EN 115:2008 Safety of escalators and moving walks, Part 1 Construction and installation (Amendment 1 May 2010) as modified by D2/AS3 (Second Edition, Amendment 7, dated Jan 2017) | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |
| Inspection/Maintenance Procedure |  |  |  |  |  |
| EN 115:2008 Safety of escalators and moving walks, Part 1 Construction and installation (Amendment 1 May 2010), Clause 7.4 | ☐ |  |  |  |  |
| Compliance Schedule Handbook:2014 (Amendment 3, dated 14 February 2014), Clause 8.3 (Refer to checklist) | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |

| SS9 – Mechanical ventilation or air conditioning systems |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| --- | --- | --- | --- | --- | --- |
| Performance Standard |  | ☐ | ☐ | ☐ | Check applicants selected means of compliance aligns with HVAC PS1 and specification. Add performance, inspection, and maintenance standards to draft compliance schedule. Performance Standard: Inspection/Maintenance Procedure: |
| AS 1668.2:2002 The use of ventilation and air-conditioning in buildings – Part 2: Ventilation design for indoor air contaminant control (Fourth edition, Amendment 2, dated June 2003) | ☐ |  |  |  |  |
| NZS 4303:1990 Ventilation for acceptable indoor air quality (original version September 1990) | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |
| Inspection/Maintenance Procedure |  |  |  |  |  |
| AS/NZS 3666.2:2011 Air-handling and water systems of buildings – Microbial control – Part 2: Operation and maintenance (Third edition, dated 14 November 2011) | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |

| SS10 - Building maintenance units |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| --- | --- | --- | --- | --- | --- |
| Performance Standard, Inspection & Maintenance Procedures |  | ☐ | ☐ | ☐ | Specified System form reviewed for compliance. Add performance, inspection, and maintenance standards to draft compliance schedule. Performance Standard: Inspection/Maintenance Procedure: |
| Please complete a specified system form | ☐ |  |  |  |  |

| SS11 - Laboratory fume cupboards |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| --- | --- | --- | --- | --- | --- |
| Performance, Inspection and Maintenance Standards and Procedures |  | ☐ | ☐ | ☐ | Specified System form reviewed for compliance. Add performance, inspection, and maintenance standards to draft compliance schedule. Performance Standard: Inspection/Maintenance Procedure: |
| Please complete a specified system form | ☐ |  |  |  |  |

| SS12.1 - Audio loops |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| --- | --- | --- | --- | --- | --- |
| Performance Standard |  | ☐ | ☐ | ☐ | Check applicants selected means of compliance aligns with specifications. Add performance, inspection, and maintenance standards added to draft compliance schedule. Performance Standard: Inspection/Maintenance Procedure: |
| NZS 4121:2001 Design for access and mobility - Buildings and associated facilities (original version April 2001) - Appendix H | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |
| Inspection/Maintenance Procedure |  |  |  |  |  |
| NZS 4121:2001 Design for access and mobility - Buildings and associated facilities (original version April 2001) - Appendix H | ☐ |  |  |  |  |
| Compliance Schedule Handbook:2014 (Amendment 3, dated 14 February 2014), Clause 12.1 B.1-B.3 |  |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |

| SS12.2 - FM radio frequency systems and infrared beam transmission systems |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| --- | --- | --- | --- | --- | --- |
| Performance Standard |  | ☐ | ☐ | ☐ | Check applicants selected means of compliance aligns with specifications. Add performance, inspection, and maintenance standards added to draft compliance schedule. Performance Standard: Inspection/Maintenance Procedure: |
| NZS 4121:2001 Design for access and mobility - Buildings and associated facilities (original version April 2001) - Appendix H | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |
| Inspection/Maintenance Procedure |  |  |  |  |  |
| NZS 4121:2001 Design for access and mobility - Buildings and associated facilities (original version April 2001) - Appendix H |  |  |  |  |  |
| Compliance Schedule Handbook:2014 (Amendment 3, dated 14 February 2014), Clause 12.2 B.1-B.6 | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |

| SS13 Smoke Control Systems (SS13/1 Mechanical, SS13/2 Natural & 13/3 Curtain) |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| --- | --- | --- | --- | --- | --- |
| Performance, Inspection and Maintenance Standards and Procedures |  | ☐ | ☐ | ☐ | Specified System form reviewed for compliance. Add performance, inspection, and maintenance standards to draft compliance schedule. Performance Standard: Inspection/Maintenance Procedure: |
| Please complete a specified system form | ☐ |  |  |  |  |

| SS14.1 - Emergency power systems for specified systems 1-13 |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| --- | --- | --- | --- | --- | --- |
| Performance Standard |  | ☐ | ☐ | ☐ | Check applicants selected means of compliance aligns with electrical documentation and fire report. Add performance, inspection, and maintenance standards added to draft compliance schedule. Performance Standard: Inspection/Maintenance Procedure: |
| NZS 6104:1981 Specification for emergency electrical supply in buildings (First edition, dated May 1981) | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |
| Inspection/Maintenance Procedure |  |  |  |  |  |
| NZS 6104:1981 Specification for emergency electrical supply in buildings (First edition, dated May 1981), Part 8 | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |

| SS14.2 - Signs relating to specified systems 1-13 |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| --- | --- | --- | --- | --- | --- |
| Performance Standard |  | ☐ | ☐ | ☐ | Check applicants selected means of compliance aligns with specifications and fire report. Add performance, inspection, and maintenance standards added to draft compliance schedule. Performance Standard: Inspection/Maintenance Procedure: |
| F8/AS1 Signs Acceptable Solution (2nd Edition Amendment 4, dated 1 January 2017) Section 5 Fire related safety features | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |
| Inspection/Maintenance Procedure |  |  |  |  |  |
| Compliance Schedule Handbook:2014 (Amendment 3, dated 14 February 2014), Clause 14.2 | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |

| SS15.1 - Systems for communicating spoken information intended to facilitate evacuation |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| --- | --- | --- | --- | --- | --- |
| Performance Standard |  | ☐ | ☐ | ☐ | Check applicants selected means of compliance aligns with the fire report. Add performance, inspection, and maintenance standards added to draft compliance schedule. Performance Standard: Inspection/Maintenance Procedure: |
| NZS 4512:2021 Fire detection and alarm systems in buildings (original version May 2021) | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |
| Inspection/Maintenance Procedure |  |  |  |  |  |
| NZS 4512:2021 Fire detection and alarm systems in buildings (original version May 2021), Section 6 | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |

| SS15.2 - Final exits |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| --- | --- | --- | --- | --- | --- |
| Performance Standard |  | ☐ | ☐ | ☐ | Check applicants selected means of compliance aligns with the fire report. Add performance, inspection, and maintenance standards added to draft compliance schedule. Performance Standard: Inspection/Maintenance Procedure: |
| C/AS2 Acceptable Solution for Buildings other than Risk Group SH (First Edition, Amendment 3, dated 2 November 2023), Part 3: Means of Escape | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |
| Inspection/Maintenance Procedure |  |  |  |  |  |
| Compliance Schedule Handbook:2014 (Amendment 3, dated 14 February 2014), Clause 15.2 B.3-B.8 | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |

| SS15.3 – Fire separations |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| --- | --- | --- | --- | --- | --- |
| Performance Standard |  | ☐ | ☐ | ☐ | Check applicants selected means of compliance aligns with the fire report. Add performance, inspection, and maintenance standards added to draft compliance schedule. Performance Standard: Inspection/Maintenance Procedure: |
| C/AS2 Acceptable Solution for Buildings other than Risk Group SH (First Edition, Amendment 3, dated 2 November 2023), Part 4: Control of internal fire and smoke spread | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |
| Inspection/Maintenance Procedure |  |  |  |  |  |
| Compliance Schedule Handbook:2014 (Amendment 3, dated 14 February 2014), Clause 15.3 B.4-B.22 | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |

| SS15.4 – Signs for communicating information intended to facilitate evacuation |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| --- | --- | --- | --- | --- | --- |
| Performance Standard |  | ☐ | ☐ | ☐ | Check applicants selected means of compliance aligns with the fire report. Add performance, inspection, and maintenance standards added to draft compliance schedule. Performance Standard: Inspection/Maintenance Procedure: |
| F8/AS1 Signs Acceptable Solution (2nd Edition Amendment 4, dated 1 January 2017), Section 4 Exit Signs | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |
| Inspection/Maintenance Procedure |  |  |  |  |  |
| AS/NZS 2293.2:1995 Emergency escape lighting & exit signs for buildings, Part 2: Inspection & maintenance (Amendment 3, December 2012) | ☐ |  |  |  |  |
| Compliance Schedule Handbook:2014 (Amendment 3, dated 14 February 2014), Clause 15.4 B.1-B.8 | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |

| SS15.5 – Smoke separations |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| --- | --- | --- | --- | --- | --- |
| Performance Standard |  | ☐ | ☐ | ☐ | Check applicants selected means of compliance aligns the fire report. Add performance, inspection, and maintenance standards added to draft compliance schedule. Performance Standard: Inspection/Maintenance Procedure: |
| C/AS2 Acceptable Solution for Buildings other than Risk Group SH (First edition, Amendment 3, dated 2 November 2023), Part 4: Control of internal fire and smoke spread | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |
| Inspection/Maintenance Procedure |  |  |  |  |  |
| Compliance Schedule Handbook:2014 (Amendment 3, dated 14 February 2014), Clause 15.5 B.3-B.17 | ☐ |  |  |  |  |
| Other (complete a specified system form) | ☐ |  |  |  |  |

| SS16 - Cable Cars |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| --- | --- | --- | --- | --- | --- |
| Performance, Inspection and Maintenance Standards and Procedures |  | ☐ | ☐ | ☐ | Specified System form reviewed for compliance. Add performance, inspection, and maintenance standards to draft compliance schedule. Performance Standard: Inspection/Maintenance Procedure: |
| Please complete a specified system form | ☐ |  |  |  |  |

| COUNCIL USE ONLY |  | Yes | N/A | RFI |  |
| --- | --- | --- | --- | --- | --- |
| Draft compliance schedule prepared for issuing with Building Consent Move to issued folder when granting building consent |  | ☐ | ☐ | ☐ | Draft compliance schedule finalised - performance, inspection and maintenance standards align with decisions recorded above. Move draft to issued folder. |

| # Construction Documentation & Producer Statements # See IS 25 BC Conditions Construction Documentation and Advice Notes for guidance |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Select as applicable | PS3 Producer Statement – Construction | IS 25 # | Yes | N/A | RFI | COUNCIL USE ONLY |
| ☐ | Membrane (Shower) | 6 | ☐ | ☐ | ☐ |  |
| ☐ | Intumescent coating | 13 | ☐ | ☐ | ☐ |  |
| ☐ | Mechanical Ventilation | 18 | ☐ | ☐ | ☐ |  |
| ☐ | Fire Alarm (PS3/Installers Declaration) | 19 | ☐ | ☐ | ☐ |  |
| ☐ | Sprinkler System (PS3/Installers Declaration) | 22 | ☐ | ☐ | ☐ |  |
| ☐ | Principle Contractor | 25 | ☐ | ☐ | ☐ |  |
| ☐ | Listening System for the Hearing Impaired | 28 | ☐ | ☐ | ☐ |  |
| ☐ | Lift/People Mover | 29 | ☐ | ☐ | ☐ |  |
| ☐ | Glass Barriers | 30 | ☐ | ☐ | ☐ |  |
| ☐ | Emergency Lighting | 34 | ☐ | ☐ | ☐ |  |
| ☐ | Passive Fire Protection | 36 | ☐ | ☐ | ☐ |  |
| ☐ | Electromagnetic or automatic doors or windows | 54 | ☐ | ☐ | ☐ |  |
| ☐ | Automatic Backflow Preventer | 56 | ☐ | ☐ | ☐ |  |
| ☐ | Smoke Control Systems | 58 | ☐ | ☐ | ☐ |  |
| ☐ | Other Click or tap here to enter text. | 51 | ☐ | ☐ | ☐ | Full wording of producer statement requirements to be written exactly how it should appear on Form 5 |
| Select as applicable | Certification | IS 25 # | Yes | N/A | RFI | COUNCIL USE ONLY |
| ☐ | Fire Alarm Certificate | 20 | ☐ | ☐ | ☐ |  |
| ☐ | Sprinkler System Certificate | 21 | ☐ | ☐ | ☐ |  |
| ☐ | Fire Doors | 23 | ☐ | ☐ | ☐ |  |
| ☐ | Manufacturers Certificate (Design and Manufacture) | 52 | ☐ | ☐ | ☐ |  |
| ☐ | Manufacturers Certificate (Manufacture only) | 53 | ☐ | ☐ | ☐ |  |
| ☐ | Riser Mains Certificate | 55 | ☐ | ☐ | ☐ |  |
| ☐ | Other Click or tap here to enter text. | 51 | ☐ | ☐ | ☐ | Full wording of certification requirements to be written exactly how it should appear on Form 5 |
| Gasworks Certification |  | 2 | ☐ | ☐ | ☐ |  |
| Electrical Certification |  | 39 | ☐ | ☐ | ☐ |  |

| COUNCIL USE ONLY |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Advice Notes |  | IS 25 # | Yes | N/A | RFI | COUNCIL USE ONLY |
| First fit out |  | 48 | ☐ | ☐ | ☐ | Click here to enter base build BC number for advice note. |
| Certificate of Public Use |  | 41 | ☐ | ☐ | ☐ |  |
| 3rd Party Verification |  | 47 | ☐ | ☐ | ☐ |  |
| Specified System Plan |  | 50 | ☐ | ☐ | ☐ |  |
| Other |  | 51 | ☐ | ☐ | ☐ | Full wording of advice note to be written exactly how it should appear on Form 5 |
| Inspections See IS SI Site Inspection Descriptions for guidance |  |  |  |  |  |  |
| ☐ Drainage | ☐ Post Lining |  |  |  | ☐ Specified Systems ☐ Final |  |
| ☐ Framing and Substrates | ☐ Tile Membrane |  |  |  |  |  |
| ☐ Pre Lining |  |  |  |  |  |  |
| Compliance Schedule |  |  |  |  |  |  |
| Choose an item. |  |  |  |  |  |  |
| Existing compliance schedule number: Click here to enter text. |  |  |  |  |  |  |

| # COUNCIL USE ONLY- FINAL SIGN OFF AND TECH ONE CHECK |  |  |
| --- | --- | --- |
| BC NUMBER Click here to enter text. |  |  |
| Building Category | ☐ Correct. If changed, state why: Click here to enter text. |  |
| Classified Use | ☐ Correct. If changed, state why: Click here to enter text. |  |
| Description of Work | ☐ Correct. If changed, state why: Click here to enter text. |  |

| APRROVED | ☐ I am satisfied ‘on reasonable grounds’ that the Building Consent Documentation to be stamped ‘Approved’ demonstrates compliance with the Building Code, and the Building Consent/Amendment is approved and ready for granting, as per Section 49 of the Building Act 2004 |  |
| --- | --- | --- |
|  | Processing Officer Name: Click here to enter text. | Date: Click here to enter text. |
| REFUSED | ☐ I am NOT satisfied that the Building Consent Application Documentation received demonstrates compliance with the Building Code, and the Building Consent/Amendment is therefore recommended for Refusal under Section 50 of the Building Act 2004 |  |
|  | Processing Officer Name: Click here to enter text. | Date: Click here to enter text. |
| Supervision Sign Off (if required) |  |  |
| Supervisor Name: Click here to enter text. |  | Date: Click here to enter text. |
| Comments Click here to enter text. |  |  |