| CS19SFLH Solid Fuel or Liquid Heater Application and Processing Checksheet |  |
| --- | --- |

APPLICANT INFORMATION

This checklist is designed to assist with the documentation and information that needs to be provided with your application. The comments provided in italics are references to paragraphs of the Acceptable Solutions unless specified otherwise. These are for guidance only and may not be the specific means of compliance for your project. Please complete all orange sections (left side of form) or select N/A where relevant Before completing this checklist please ensure the work fits within the scope of this checksheet: ☐; Solid fuel fireplace (i.e. wood, pellets) or liquid fuel fireplace (i.e. diesel). If outside this scope, please find and complete applicable checklist available here: BC Application Checksheets

| # HEATER INFORMATION |  |  |  |  |
| --- | --- | --- | --- | --- |
| Heater make and model | Click here to enter text. |  |  |  |
| Installation type | ☐ Freestanding | ☐ In built | ☐ Wetback | ☐ Boiler |
| Fuel type | ☐ Wood | ☐ Multi-fuel | ☐ Pellet | ☐ Liquid Fuel |
| Second-hand Heater | ☐ Yes ☐ No If yes, provide evidence (letter, photos etc) from a suitably qualified person confirming the heater is acceptable to install e.g a member of the NZ Home Heating Association. |  |  |  |

| Select | Form 2: Application for Building Consent | COUNCIL USE ONLY |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Yes | N/A | RFI | Reasons for Decisions / Comments |
| ☐ | All sections of Form 2 completed | ☐ | ☐ | ☐ |  |
| ☐ | Proof of ownership submitted | ☐ | ☐ | ☐ |  |

| Yes | N/A | Plans and Details | COUNCIL USE ONLY |
| --- | --- | --- | --- |
| ☐ |  | Plans of suitable quality must be provided (CAD or technical hand drawings) Existing plans of the dwelling can be accessed via eDocs (please ensure they are clear, readable and do not contain any previous stamps). SOLID FUEL – - Floor plan provided for each level of building showing: - Location of fire - Smoke alarms (see C1-6 section below for location information) - All rooms labelled LIQUID FUEL – - Floor plan provided for each level of building showing: - Location of boiler - Smoke alarms (see C1-6 section below for location information) - All rooms labelled - Site plan provided showing: - Location of the storage tank (include size) - Dimensions from the tank to the boundary & existing buildings - Wall cladding material - Wall openings - Any drainage openings within 1m of the storage tank must be shown (including neighbouring properties) |  |

| C PROTECTION FROM FIRE |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Yes | N/A | C1 – 6 Protection from Fire | COUNCIL USE ONLY |  |  |  |
|  |  |  | Yes | N/A | RFI | Reasons for Decisions / Comments |
| ☐ |  | SOLID FUEL – - Manufacturer’s full installation information - Minimum clearances, floor and wall protection (if required) supplied for the fire LIQUID FUEL – - Manufacturer’s full specifications and - Installation information supplied for boiler, storage tank and fire valve. | ☐ | ☐ | ☐ |  |
| ☐ | ☐ | Combustible materials: - Show that consideration has been given to the proximity of drapes/coverings/curtains in relation to the fire, to achieve the minimum required clearances | ☐ | ☐ | ☐ |  |
| ☐ |  | Flue and liner system: - Manufacturer’s technical information provided with installation and clearances included. - Penetration detail provided for skillion or flat ceiling, as applicable. - If the flue penetrates one or more floors, provide a construction detail of the floor penetration with clearances noted and flue protection if exposed in the upper level rooms - If a flue offset is required, provide a dimensioned drawing of the offset and detail where the offset is located - If the flue is enclosed in a chimney, provide the ventilation information for the enclosure (construction detail or photos) (refer to BRANZ Build 129 for guidance) | ☐ | ☐ | ☐ |  |
| ☐ | ☐ | Heat shielding: - Does the installation require heat shielding as it does not meet the clearance requirements of the manufacturer’s instructions or AS/NZS2918? - Provide reduction factor calculation and indicate reduced clearances on floor plan (refer to Section 3 AS/NZS2918) | ☐ | ☐ | ☐ |  |
| ☐ | ☐ | Smoke alarms: * Upgrade to interconnected alarms in whole house required where existing smoke alarms don’t comply (i.e. insufficient existing smoke alarms) or where there are no existing smoke alarms Refer to NZS4514:2021 for full location information General required for (bedrooms, living spaces, hallways and landing within the building, separate kitchen, on each level etc.) *Required to assess Section 112 - means of escape from fire | ☐ | ☐ | ☐ |  |

| E MOISTURE |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Yes | E2 External Moisture | COUNCIL USE ONLY |  |  |  |
|  |  | Yes | N/A | RFI | Reasons for Decisions / Comments |
| ☐ | Roof flashing: - specification or detail provided for the flue penetration e.g. boot flashing, soaker flashing etc. (refer to Section 8.0 E2/AS1) ☐ Existing to be used | ☐ | ☐ | ☐ |  |

| G SERVICES AND FACILITIES |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Yes | N/A | G12 Water supplies (if heater is fitted with wetback) | ☐ N/A |  |  | COUNCIL USE ONLY |
|  |  |  | Yes | N/A | RFI | Reasons for Decisions / Comments |
| ☐ | ☐ | Connected to open vented hot water cylinder (HWC) (refer to Section 6.13 G12/AS1) | ☐ | ☐ | ☐ |  |
| ☐ | ☐ | Tempering valve fitted (refer to Section 6.14 G12/AS1) ☐ Yes ☐ Existing | ☐ | ☐ | ☐ |  |
| ☐ | ☐ | Diagram provided showing the pipework between the heater and the HWC. (refer to Figure 15 G12/AS1) | ☐ | ☐ | ☐ |  |

| Yes | N/A | Clean Air Requirements (wood burners only) | ☐ N/A |  |  | COUNCIL USE ONLY |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Yes | N/A | RFI | Reasons for Decisions / Comments |
| ☐ | ☐ | Does the heater comply with any applicable Regional Authority or MFE emission standards? https://www.mfe.govt.nz/air/home-heating-and-authorised-wood-burners Authorisation number: Click here to enter text. | ☐ | ☐ | ☐ |  |

| Advice Notes See IS 25 BC Conditions Construction Documentation and Advice Notes for guidance |  |  |  | IS 25 # | Yes | N/A |
| --- | --- | --- | --- | --- | --- | --- |
| Domestic Heating appliance |  |  |  | 33 | ☐ | ☐ |
| Inspections See IS SI Site Inspection Descriptions for guidance |  |  |  |  |  |  |
| ☐ Pre Lining |  | ☐ Final |  |  |  |  |

| # COUNCIL USE ONLY- FINAL SIGN OFF AND TECH ONE CHECK |  |  |
| --- | --- | --- |
| BC NUMBER Click here to enter text. |  |  |
| Building Category | ☐ Correct. If changed, state why: Click here to enter text. |  |
| Classified Use | ☐ Correct. If changed, state why: Click here to enter text. |  |
| Description of Work | ☐ Correct. If changed, state why: Click here to enter text. |  |

| APRROVED | ☐ I am satisfied ‘on reasonable grounds’ that the Building Consent Documentation to be stamped ‘Approved’ demonstrates compliance with the Building Code, and the Building Consent/Amendment is approved and ready for granting, as per Section 49 of the Building Act 2004 |  |
| --- | --- | --- |
|  | Processing Officer Sign-off: Click here to enter text. | Date: Click here to enter text. |
| REFUSED | ☐ I am NOT satisfied that the Building Consent Application Documentation received demonstrates compliance with the Building Code, and the Building Consent/Amendment is therefore recommended for Refusal under Section 50 of the Building Act 2004 |  |
|  | Processing Officer Sign-off: Click here to enter text. | Date: Click here to enter text. |

| Supervision Sign Off (if required) |  |
| --- | --- |
| Supervisor Name: Click here to enter text. | Date: Click here to enter text. |
| Comments Click here to enter text. |  |

| COUNCIL USE ONLY |  |
| --- | --- |
| Building Support Lodgement Name: Click or tap here to enter text. | Yes |
| Invoice sent (Fixed fee as per Building Services Fees and Charges) | ☐ |

| Checking Officer (Section 45 check) | Complete |
| --- | --- |
| Select initial Building Category in TechOne (will be confirmed by processing officer) R1 – Single storey, R2 – Two storey, R3 – Multi Unit Dwelling C1 – Non-residential | Choose an item. |
| Check Classified Use is correct in TechOne Building Regulations 1992, Schedule 1, Clause A1-Classified Uses | Choose an item. |
| Complete the TechOne event: - ‘Application Check – Further Information Required?’ - Select ‘No’ in Decision field. | ☐ |
| Confirm TechOne Stage/Decision has changed to ‘Applicant Documentation Checked’ | ☐ |
| Name: | Date:Click or tap to enter a date. |

| Building Support Entering into processing Name: Click or tap here to enter text. | Yes | Complete |
| --- | --- | --- |
| Fees paid Indicate whether fees paid, amount and date of payment | ☐ |  |
| Complete TechOne event ‘Application Complete’ by selecting ‘Yes’ in Decision field. | ☐ |  |